Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" Sink Trap J- Bends- Washer Joint

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 10227-1CP | 1 ½" 22GA | Chrome Plated | Brass |
| 10227CP | 1 ½" 20GA | Chrome Plated | Brass |
| 10228CP | 1 ½" 17GA | Chrome Plated | Brass |
| 10227-1RB | 1 ½" 22GA | Rough Brass | Brass |
| 10227RB | 1 ½" 20GA | Rough Brass | Brass |
| 10228RB | 1 ½" 17GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067