Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC

1 ½" Sink Trap Ground Joint

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 1227CP | 1 ½" 20GA | Chrome Plated | Brass |
| 1227PC | 1 ½" 20GA | Polished Chrome | Brass |
| 1227RB | 1 ½" 20GA | Rough Brass | Brass |
| 1228CP | 1 ½" 17GA | Chrome Plated | Brass |
| 1228PC | 1 ½" 17GA | Polished Chrome | Brass |
| 1228RB | 1 ½" 17GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067