Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC

Sink Trap Ground Joint w/Adapter & Brass Cover Tube

| #### Part Number | #### Size |  | #### Adapter |  | #### Material / Nuts |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1228BPC/PVC |  | 1 ½ " 17GA | PVC | Polished Chrome/ Brass |  |  |
| 1228BPC/ABS |  | 1 ½ " 17GA | ABS | Polished Chrome / Brass |  |  |
| 1228BPB/PVC |  | 1 ½ " 17GA | PVC | Polished Brass/ Brass |  |  |
| 1228BPB/ABS |  | 1 ½ " 17GA | ABS | Polished Brass/ Brass |  |  |
| 1228BPVD/PVC |  | 1 ½ " 17GA | PVC | Phys. Vap. Depos./ Brass |  |  |
| 1228BPVD/ABS |  | 1 ½ " 17GA | ABS | Phys. Vap. Depos./ Brass |  |  |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067