Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" G/J Sink Trap, X-Large Tube Sweat Elbow, R/W, D/F, B/N, L/ CO.

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 1228XBDCP | 1 ½" 17 GA. | CP | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067