Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" P-Trap, W/ CO., Polished Chrome*

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 16PC | 1 ½" 20 GA. | PC | Brass, Zinc Nuts |
| 17PC | 1 ½" 17 GA. | PC | Brass, Zinc Nuts |

*Note:	1. For Deep Flange add "D" to catalog number.

2. For Brass Nuts add "B" to catalog number.

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067