Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" Continuous Wastes Center Outlet – Slip Joint

| #### Part Number | #### Dim B, GA | #### Finish | #### Material |
| --- | --- | --- | --- |
| 266CP | 25", 22GA | Chrome Plated | Brass |
| 266RB | 25", 22GA | Rough Brass | Brass |
| 267CP | 16", 22GA | Chrome Plated | Brass |
| 267RB | 16", 22GA | Rough Brass | Brass |
| 3267CP | 16", 20GA | Chrome Plated | Brass |
| 3267RB | 16", 20GA | Rough Brass | Brass |
| 4267CP | 16", 17GA | Chrome Plated | Brass |
| 4267RB | 16", 17GA | Rough Brass | Brass |
| 268CP | 21", 22 GA | Chrome Plated | Brass |
| 268RB | 21", 22GA | Rough Brass | Brass |
| 3268CP | 21", 20GA | Chrome Plated | Brass |
| 3268RB | 21", 20GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067