Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" Continuous Wastes Center Outlet – Direct Connect

| #### Part Number | #### Dim B, GA | #### Finish | #### Material |
| --- | --- | --- | --- |
| 266HCP | 25", 22GA | Chrome Plated | Brass |
| 266HRB | 25", 22GA | Rough Brass | Brass |
| 267HCP | 16", 22GA | Chrome Plated | Brass |
| 267HRB | 16", 22GA | Rough Brass | Brass |
| 3267HCP | 16", 20GA | Chrome Plated | Brass |
| 3267HRB | 16", 20GA | Rough Brass | Brass |
| 4267HCP | 16", 17GA | Chrome Plated | Brass |
| 4267HRB | 16", 17GA | Rough Brass | Brass |
| 268HCP | 21", 22 GA | Chrome Plated | Brass |
| 268HRB | 21", 22GA | Rough Brass | Brass |
| 3268HCP | 21", 20GA | Chrome Plated | Brass |
| 3268HRB | 21", 20GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067