Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½"x 9 ½" Slip Joint Waste Arms W/Nut & Washer

| #### Part Number | #### GA | #### Finish | #### Material |
| --- | --- | --- | --- |
| 280CP | 22GA | Chrome Plated | Brass |
| 280RB | 22GA | Rough Brass | Brass |
| 3280CP | 20GA | Chrome Plated | Brass |
| 3280RB | 20GA | Rough Brass | Brass |
| 4280CP | 17GA | Chrome Plated | Brass |
| 4280RB | 17GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067