Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ¼" Wall Bends

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 30100-1CP | 1 ¼" 22GA | Chrome Plated | Brass |
| 30100CP | 1 ¼" 20GA | Chrome Plated | Brass |
| 30110CP | 1 ¼" 17GA | Chrome Plated | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067