Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 3/8" or 1 ½" Brass Chain & Stopper Style Drain

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 308RB | 22GA. | Rough Brass | Brass |
| 308CP | 22GA. | Chrome Plated | Brass |
| 310RB | 17GA. | Rough Brass | Brass |
| 310CP | 17GA. | Chrome Plated | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067