Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" OD Extra Heavy Castings w/Triplever Device,

1 5/8" Stamped Brass Strainer w/11 ½ T.P.I. Dome Grid w/Screw

| #### Part Number | #### Size | #### Finish | #### Material |  |
| --- | --- | --- | --- | --- |
| 340CP | 20GA | Chrome Plated |  | Brass |
| 340PB | 20GA | Polished Brass |  | Brass |
| 340PVD | 20GA | Physical Vapor Deposition |  | Brass |
| 342CP | 17GA | Chrome Plated |  | Brass |
| 342PB | 17GA | Polished Brass |  | Brass |
| 342PVD | 17GA | Physical Vapor Deposition |  | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067