Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

Universal Continuous Wastes- Telescopic End Outlet w/Branch Hose Connection

| #### Part Number | #### Size | #### Color | #### Material |
| --- | --- | --- | --- |
| 51265TEL1/2 | 1 ½" x 16" | White | Poly-Pro |
| 51265TEL1/2BAG | 1 ½" x 16" | White | Poly-Pro |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067