Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" Slip Joint Elbows

| #### Part Number | #### OD x Dim "A" | #### Finish | #### Material |
| --- | --- | --- | --- |
| 536-6CP | 1 ½" x 6" | Chrome Plated | Brass |
| 536-8CP | 1 ½" x 8" | Chrome Plated | Brass |
| 536-12CP | 1 ½" x 12" | Chrome Plated | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067