Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

Direct Connect Dishwasher Branch Tailpieces w/ ¾" Hose Clamp

| #### Part Number | #### Size | #### Color | #### Material |
| --- | --- | --- | --- |
| 58558 | 1 ½ x 8 ¾" | White | Poly-Pro |
| 68558 | 1 ½ x 8 ¾" | Black | Poly-Pro |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067