Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ¼" Double Offsets

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 667CP | 1 ¼ x 12" 22GA | Chrome Plated | Brass |
| 667RB | 1 ¼ x 12" 22GA | Rough Brass | Brass |
| 4667CP | 1 ¼ x 12" 17GA | Chrome Plated | Brass |
| 4667RB | 1 ¼ x 12" 17GA | Rough Brass | Brass |