Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

Duo Strainer, Stainless Steel Basket w/Rolled-Edge & Stick Post, ¼" Rubber Washer, Fiber Washer & Die Cast Lock Nut

| #### Part Number | #### Size | #### Lock Nut | #### Material |
| --- | --- | --- | --- |
| 725PC | 3 ½"-4" | 3 38" Heavy | Brass Body |
| 725SS | 3 ½"-4" | 3 3/8" | All Stainless Steel |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067