Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

Direct Connect Dishwasher Branch Tailpieces

½" Nom. Sweat

| #### Part Number | #### Size | #### Finish | #### Material |
| --- | --- | --- | --- |
| 850A-12CP | 1 ½ x 12" 22GA | Chrome Plated | Brass |
| 850A-12RB | 1 ½ x 12" 22GA | Rough Brass | Brass |
| 4850A-12CP | 1 ½ x 12" 17GA | Chrome Plated | Brass |
| 4850A-12RB | 1 ½ x 12" 17GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067