Specification Sheet

C.S.B. INTERNATIONAL PRODUCTS INC.

1 ½" T.O.E. Dishwasher Branch Tailpieces

| #### Part Number | #### Dim "A" | #### Finish | #### Material |
| --- | --- | --- | --- |
| 855-6TOECP | 6" 22GA | Chrome Plated | Brass |
| 855-6TOERB | 6" 22GA | Rough Brass | Brass |
| 855-8TOECP | 8" 22GA | Chrome Plated | Brass |
| 855-8TOERB | 8" 22GA | Rough Brass | Brass |

Tel: (860) 263-3635, Fax: (860) 229-4328

### E-mail: sales@csbint.biz

41 Hammer Hill Road,

Rocky Hill, CT 06067